## OWID
World
Cummulative | OWID_WRL | [36 empty] | IEA SPS -projections
| 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Other renewables excluding bioenergy (TWh) (zero filled) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52.37 | 104.97 | 159.05 | 215.12 | 273.06 | 331.8 | 391.91 | 454.78 | 520.75 | 588.77 | 657.39 | 727.29 | 798.3 | 870.89 | 948.57 | 1030.14 | 1114.05 | 1200.67 | 1290.47 | 1381.86 | 1476.14 | 1571.79 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electricity from bioenergy (TWh) (zero filled) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 148.41 | 291.31 | 447.53 | 615.12 | 799.69 | 1008.13 | 1229.78 | 1473.94 | 1733.63 | 2014.68 | 2338.92 | 2683.23 | 3056.19 | 3461.5 | 3903.9 | 4384.05 | 4872.09 | 5390.06 | 5939.31 | 6517.28 | 7122.36 | 7788.64 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electricity from solar (TWh) | 0.011747 | 0.026931 | 0.037534 | 0.04773 | 0.30995 | 0.69825 | 1.2035 | 1.67 | 2.2267 | 2.8237 | 3.4626 | 4.1618 | 4.9114 | 5.7231 | 6.6283 | 7.7083 | 9.0583 | 10.7483 | 12.8183 | 15.5283 | 19.3083 | 24.4183 | 31.3383 | 42.6983 | 61.8883 | 92.9383 | 154.7883 | 249.9683 | 381.3883 | 577.8483 | 832.7183 | 1161.8683 | 1606.4083 | 2176.9783 | 2878.1683 | 3730.2683 | 4770.7683 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electricity from wind (TWh) | 0.06422 | 0.20305 | 0.39843 | 0.73001 | 3.3798 | 7.0123 | 11.099 | 15.8322 | 21.5297 | 28.6527 | 36.9146 | 46.1192 | 58.137 | 74.0583 | 95.2744 | 126.4344 | 164.5944 | 216.6344 | 280.0644 | 365.3244 | 469.2144 | 602.0044 | 772.9144 | 992.9844 | 1268.8644 | 1614.8544 | 2055.2444 | 2584.3544 | 3225.5244 | 3942.0344 | 4770.4044 | 5730.0544 | 6866.4644 | 8131.7544 | 9551.2844 | 11138.2044 | 12986.4644 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electricity from hydro (TWh) | 1979.782 | 3986.3749 | 6020.1529 | 8119.0999 | 10206.8931 | 12365.6365 | 14574.6951 | 16783.1553 | 19124.6128 | 21480.8086 | 23964.4876 | 26481.513 | 29042.543 | 31623.5388 | 34224.082 | 36845.552 | 39406.702 | 42008.192 | 44610.362 | 47407.182 | 50302.472 | 53304.552 | 56350.842 | 59582.082 | 62811.752 | 66224.242 | 69703.662 | 73348.852 | 77125.912 | 80991.902 | 84862.232 | 88859.232 | 92913.402 | 97088.242 | 101308.742 | 105649.352 | 109883.702 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electricity from nuclear (TWh) | 1488.9216 | 3083.6573 | 4818.3905 | 6709.6398 | 8654.6504 | 10655.1124 | 12751.2872 | 14863.3762 | 17048.2024 | 19274.0466 | 21596.4426 | 24003.2436 | 26393.5202 | 28824.9421 | 31348.8947 | 33856.3247 | 36430.0347 | 39031.9247 | 41609.6347 | 44292.3647 | 46979.3147 | 49700.7347 | 52367.6547 | 55023.6947 | 57642.6947 | 60329.1347 | 62904.4847 | 65307.6947 | 67726.1347 | 70198.8347 | 72701.2847 | 75241.7647 | 77807.9847 | 80427.5547 | 83151.6347 | 85786.3247 | 88525.6447 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electricity from oil (TWh) | 1108.8606 | 2275.1862 | 3456.2802 | 4710.6375 | 6057.6004 | 7422.3474 | 8772.4304 | 10100.7219 | 11367.4077 | 12669.5801 | 13929.5145 | 15175.5627 | 16420.2491 | 17715.3409 | 18982.7236 | 20156.0636 | 21313.3836 | 22449.2236 | 23604.1936 | 24744.6236 | 25886.7836 | 26936.8136 | 28011.8236 | 29041.9436 | 29998.7936 | 30951.4036 | 31998.6836 | 33099.0136 | 34161.1336 | 35170.0536 | 36182.8036 | 37142.3936 | 38014.6636 | 38813.9036 | 39552.4336 | 40263.0036 | 41027.5236 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electricity from gas (TWh) | 1426.304 | 2858.9701 | 4375.4603 | 5916.3982 | 7644.9147 | 9434.6463 | 11249.9012 | 13079.3071 | 14943.144 | 16868.2752 | 18905.2342 | 21006.1187 | 23277.2952 | 25685.5982 | 28285.4722 | 31003.1722 | 33870.6822 | 36942.0522 | 40145.8922 | 43591.4822 | 47211.2922 | 51047.0322 | 55195.2122 | 59447.3522 | 63735.8422 | 68489.0322 | 73305.2322 | 78397.4822 | 83384.8122 | 88524.4722 | 93987.3422 | 99694.4422 | 105521.3522 | 111573.0422 | 117781.6422 | 123934.8422 | 130272.8022 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electricity from coal (TWh) | 3748.3113 | 7587.2383 | 11645.1463 | 15845.5513 | 20222.2123 | 24682.1776 | 29238.6326 | 33887.1326 | 38611.7826 | 43502.0848 | 48539.4613 | 53817.4153 | 59210.9758 | 64715.0852 | 70337.3865 | 76056.3265 | 81858.0865 | 87916.7765 | 94380.8765 | 101078.1065 | 108123.0265 | 115565.9165 | 123502.3665 | 131435.8665 | 139259.1965 | 147623.1065 | 156443.0565 | 165304.0565 | 174617.1365 | 184120.0065 | 193287.2165 | 202517.1065 | 212038.8465 | 221940.9365 | 231625.3565 | 240923.1365 | 251009.0365 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Other renewables excluding bioenergy (TWh) (zero filled) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 52.37 | 52.6 | 54.08 | 56.07 | 57.94 | 58.74 | 60.11 | 62.87 | 65.97 | 68.02 | 68.62 | 69.9 | 71.01 | 72.59 | 77.68 | 81.57 | 83.91 | 86.62 | 89.8 | 91.39 | 94.28 | 95.65 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electricity from bioenergy (TWh) (zero filled) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 148.41 | 142.9 | 156.22 | 167.59 | 184.57 | 208.44 | 221.65 | 244.16 | 259.69 | 281.05 | 324.24 | 344.31 | 372.96 | 405.31 | 442.4 | 480.15 | 488.04 | 517.97 | 549.25 | 577.97 | 605.08 | 666.28 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electricity from solar (TWh) | 0.011747 | 0.015184 | 0.010603 | 0.010196 | 0.26222 | 0.38829 | 0.5052 | 0.46659 | 0.5567 | 0.59701 | 0.63881 | 0.69921 | 0.74958 | 0.81179 | 0.9052 | 1.08 | 1.35 | 1.69 | 2.07 | 2.71 | 3.78 | 5.11 | 6.92 | 11.36 | 19.19 | 31.05 | 61.85 | 95.18 | 131.42 | 196.46 | 254.87 | 329.15 | 444.54 | 570.57 | 701.19 | 852.1 | 1040.5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electricity from wind (TWh) | 0.06422 | 0.13883 | 0.19538 | 0.33158 | 2.6498 | 3.6325 | 4.0867 | 4.7332 | 5.6976 | 7.1229 | 8.2619 | 9.2046 | 12.0178 | 15.9213 | 21.2162 | 31.16 | 38.16 | 52.04 | 63.43 | 85.26 | 103.89 | 132.79 | 170.91 | 220.07 | 275.88 | 345.99 | 440.39 | 529.11 | 641.17 | 716.51 | 828.37 | 959.65 | 1136.41 | 1265.29 | 1419.53 | 1586.92 | 1848.26 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electricity from hydro (TWh) | 1979.782 | 2006.5929 | 2033.778 | 2098.947 | 2087.7932 | 2158.7434 | 2209.0586 | 2208.4602 | 2341.4575 | 2356.1958 | 2483.679 | 2517.0254 | 2561.03 | 2580.9958 | 2600.5432 | 2621.47 | 2561.15 | 2601.49 | 2602.17 | 2796.82 | 2895.29 | 3002.08 | 3046.29 | 3231.24 | 3229.67 | 3412.49 | 3479.42 | 3645.19 | 3777.06 | 3865.99 | 3870.33 | 3997 | 4054.17 | 4174.84 | 4220.5 | 4340.61 | 4234.35 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electricity from nuclear (TWh) | 1488.9216 | 1594.7357 | 1734.7332 | 1891.2493 | 1945.0106 | 2000.462 | 2096.1748 | 2112.089 | 2184.8262 | 2225.8442 | 2322.396 | 2406.801 | 2390.2766 | 2431.4219 | 2523.9526 | 2507.43 | 2573.71 | 2601.89 | 2577.71 | 2682.73 | 2686.95 | 2721.42 | 2666.92 | 2656.04 | 2619 | 2686.44 | 2575.35 | 2403.21 | 2418.44 | 2472.7 | 2502.45 | 2540.48 | 2566.22 | 2619.57 | 2724.08 | 2634.69 | 2739.32 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electricity from oil (TWh) | 1108.8606 | 1166.3256 | 1181.094 | 1254.3573 | 1346.9629 | 1364.747 | 1350.083 | 1328.2915 | 1266.6858 | 1302.1724 | 1259.9344 | 1246.0482 | 1244.6864 | 1295.0918 | 1267.3827 | 1173.34 | 1157.32 | 1135.84 | 1154.97 | 1140.43 | 1142.16 | 1050.03 | 1075.01 | 1030.12 | 956.85 | 952.61 | 1047.28 | 1100.33 | 1062.12 | 1008.92 | 1012.75 | 959.59 | 872.27 | 799.24 | 738.53 | 710.57 | 764.52 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electricity from gas (TWh) | 1426.304 | 1432.6661 | 1516.4902 | 1540.9379 | 1728.5165 | 1789.7316 | 1815.2549 | 1829.4059 | 1863.8369 | 1925.1312 | 2036.959 | 2100.8845 | 2271.1765 | 2408.303 | 2599.874 | 2717.7 | 2867.51 | 3071.37 | 3203.84 | 3445.59 | 3619.81 | 3835.74 | 4148.18 | 4252.14 | 4288.49 | 4753.19 | 4816.2 | 5092.25 | 4987.33 | 5139.66 | 5462.87 | 5707.1 | 5826.91 | 6051.69 | 6208.6 | 6153.2 | 6337.96 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Electricity from coal (TWh) | 3748.3113 | 3838.927 | 4057.908 | 4200.405 | 4376.661 | 4459.9653 | 4556.455 | 4648.5 | 4724.65 | 4890.3022 | 5037.3765 | 5277.954 | 5393.5605 | 5504.1094 | 5622.3013 | 5718.94 | 5801.76 | 6058.69 | 6464.1 | 6697.23 | 7044.92 | 7442.89 | 7936.45 | 7933.5 | 7823.33 | 8363.91 | 8819.95 | 8861 | 9313.08 | 9502.87 | 9167.21 | 9229.89 | 9521.74 | 9902.09 | 9684.42 | 9297.78 | 10085.9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Source(s) Our World In data
https://ourworldindata.org/electricity-mix

## LCOE -IEA
Source: IEA Levelised Cost of Electricity Calculator 2020 USD/MWh |  |  |  | https://www.iea.org/data-and-statistics/data-tools/levelised-cost-of-electricity-calculator |  |  | *note only OECD and a few non-OECD data, not Kenya specific data (see full data and calculation from W:\MFM\Unnada\LCOE2020- IEA.xlsx)
LCOE -MEAN (2020)
| CAPITAL | O&M | FUEL | CARBON | LCOE
Coal | 34.2687 | 22.74 | 24.598 | 0 | 81.6087
Oil | 34.2687 | 22.74 | 24.598 | 0 | 81.6087 | No data- assume same as coal
Gas | 14.515 | 10.57 | 44.8838 | 0 | 69.9691
Hydro | 92.2824 | 16.1866 | 0 | 0 | 108.4683
Solar | 79.4579 | 17.4375 | 0 | 0 | 96.8958 | assumed PV and no CSP
Wind | 62.1477 | 19.4108 | 0 | 0 | 81.5586 | both onshore and offshore
Geothermal | 80.9083 | 21.5717 | 0 | 0 | 102.48
Biomass | 40.9025 | 26.72 | 66.415 | 0 | 134.035
Nuclear | 25.6694 | 14.7969 | 9.3875 | 0 | 49.8494
Costs LCOE -standard deviation (2020)
| CAPITAL | O&M | FUEL | CARBON | LCOE
Coal | 18.0387 | 10.5296 | 5.8864 | 0 | 25.2191
Oil | 6.8537 | 4.548 | 4.9196 | 0 | 16.3217 | No data- assume small
Gas | 8.412 | 8.1366 | 21.1345 | 0 | 24.9905
Biomass | 25.6363 | 23.8385 | 79.7033 | 0 | 106.5878
Solar | 38.2368 | 23.4847 | 0 | 0 | 48.3598
Wind | 36.8394 | 10.8818 | 0 | 0 | 45.8138 | assumed PV and no CSP
Hydro | 69.2212 | 10.0476 | 0 | 0 | 77.0886 | both onshore and offshore
Geothermal | 33.1157 | 3.6677 | 0 | 0 | 35.9817
Nuclear | 22.0082 | 5.5826 | 1.6391 | 0 | 22.8711

## LCOE Coal - IEA
Country | Plant category | Plant type | Construction costs (USD/MWh) | Refurbishment costs (USD/MWh) | Decommissioning costs (USD/MWh) | Total capital costs (USD/MWh) | Operations & maintenance costs (USD/MWh) | Fuel costs (th) (USD/MWh) | Fuel costs (el) (USD/MWh) | Carbon price (USD/ton) | Carbon costs (USD/MWh) | Heat price (USD/MWh) | CHP heat revenues (USD/MWh) | Discount rate | LCOE (USD/MWh)
India | Coal | Ultra-supercritical (pithead) (400 MW) | 12.83 | 0 | 0.03 | 12.87 | 8.53 | 11.89 | 26.43 | 0 | 0 | 37.06 | 0 | 0.07 | 47.84
China | Coal | Ultra-supercritical (347 MW) | 8.95 | 0 | 0.02 | 8.97 | 14.97 | 12.61 | 28.02 | 0 | 0 | 37.06 | 0 | 0.07 | 51.96
Korea, Republic of | Coal | Ultra-supercritical (954 MW) | 12.87 | 0 | 0.03 | 12.9 | 11.62 | 11.89 | 27.47 | 0 | 0 | 37.06 | 0 | 0.07 | 52
United States of America | Coal | Pulverised (650 MW) | 27.71 | 0 | 0.08 | 27.78 | 17.01 | 7.31 | 18.23 | 0 | 0 | 37.06 | 0 | 0.07 | 63.02
United States of America | Coal | Supercritical pulverised (650 MW) | 28.87 | 0 | 0.08 | 28.95 | 17.2 | 7.31 | 17.51 | 0 | 0 | 37.06 | 0 | 0.07 | 63.66
Australia | Coal | Supercritical pulverised (722 MW) | 27.21 | 0 | 0.07 | 27.28 | 8.69 | 11.89 | 29.66 | 0 | 0 | 37.06 | 0 | 0.07 | 65.63
Japan | Coal | Ultra-supercritical (749 MW) | 27.05 | 0 | 0.07 | 27.12 | 19.31 | 11.89 | 28.73 | 0 | 0 | 37.06 | 0 | 0.07 | 75.16
India | Coal | Ultra-supercritical (load centered) (400 MW) | 12.42 | 0 | 0.03 | 12.46 | 38.65 | 11.89 | 26.43 | 0 | 0 | 37.06 | 0 | 0.07 | 77.54
United States of America | Coal | Pulverised (140 MW) | 38.54 | 0 | 0.1 | 38.65 | 22.25 | 7.31 | 20.36 | 0 | 0 | 37.06 | 0 | 0.07 | 81.26
United States of America | Coal | Coal (641 MW) | 46.48 | 0 | 0.13 | 46.61 | 29.5 | 7.31 | 17.16 | 0 | 0 | 37.06 | 0 | 0.07 | 93.28
United States of America | Coal | Pulverised (138 MW) | 49 | 0 | 0.13 | 49.13 | 30.47 | 7.31 | 20.19 | 0 | 0 | 37.06 | 0 | 0.07 | 99.79
Australia | Coal | Supercritical pulverised (CCUS) (633 MW) | 50.2 | 0 | 0.14 | 50.34 | 19.34 | 11.89 | 39.58 | 0 | 0 | 37.06 | 0 | 0.07 | 109.26
United States of America | Coal | Supercritical pulverised (CCUS) (650 MW) | 52.04 | 0 | 0.14 | 52.18 | 30.15 | 7.31 | 22.38 | 0 | 0 | 37.06 | 0 | 0.07 | 104.71
United States of America | Coal | Pulverised (CCUS) (650 MW) | 51.48 | 0 | 0.14 | 51.62 | 30.45 | 7.31 | 23.5 | 0 | 0 | 37.06 | 0 | 0.07 | 105.57
United States of America | Coal | Coal (CCUS) (499 MW) | 66.99 | 0 | 0.18 | 67.17 | 42.96 | 7.31 | 23.32 | 0 | 0 | 37.06 | 0 | 0.07 | 133.45
|  | Mean | 34.176 | 0 | 0.091333 | 34.2687 | 22.74 | 9.4953 | 24.598 | 0 | 0 | 37.06 | 0 | 0.07 | 81.6087
|  | Standard Diviation | 17.9897 | 0 | 0.050408 | 18.0387 | 10.5296 | 2.4248 | 5.8864 | 0 | 0 | 7.3548e-15 | 0 | 2.873e-17 | 25.2191
Source(s): Projected Costs of Generating Electricity 2020, IEA
https://www.iea.org/data-and-statistics/data-tools/levelised-cost-of-electricity-calculator
Note(s): Assume 7% discounted rate and $0 carbon tax

## LCOE Gas - IEA
Country | Plant category | Plant type | Construction costs (USD/MWh) | Refurbishment costs (USD/MWh) | Decommissioning costs (USD/MWh) | Total capital costs (USD/MWh) | Operations & maintenance costs (USD/MWh) | Fuel costs (th) (USD/MWh) | Fuel costs (el) (USD/MWh) | Carbon price (USD/ton) | Carbon costs (USD/MWh) | Heat price (USD/MWh) | CHP heat revenues (USD/MWh) | Discount rate | LCOE (USD/MWh)
Mexico | Gas | Gas (CCGT) (835 MW) | 5.41 | 0 | 0.03 | 5.44 | 5.51 | 10.92 | 18.89 | 0 | 0 | 37.06 | 0 | 0.07 | 29.84
Mexico | Gas | Gas (CCGT) (785 MW) | 7.74 | 0 | 0.04 | 7.78 | 5.73 | 10.92 | 18.29 | 0 | 0 | 37.06 | 0 | 0.07 | 31.8
Mexico | Gas | Gas (CCGT) (503 MW) | 7.76 | 0 | 0.04 | 7.81 | 5.28 | 10.92 | 21.62 | 0 | 0 | 37.06 | 0 | 0.07 | 34.71
United States of America | Gas | Gas (CCGT) (727 MW) | 11.04 | 0 | 0.06 | 11.1 | 5.3 | 10.92 | 18.38 | 0 | 0 | 37.06 | 0 | 0.07 | 34.78
Canada | Gas | Gas (CCGT) (471 MW) | 12.27 | 0 | 0.07 | 12.34 | 6.96 | 10.92 | 19.19 | 0 | 0 | 37.06 | 0 | 0.07 | 38.48
Brazil | Gas | Gas (CCGT) (980 MW) | 11.11 | 0 | 0.06 | 11.17 | 11.21 | 10.92 | 18.83 | 0 | 0 | 37.06 | 0 | 0.07 | 41.21
Belgium | Gas | Gas (CCGT) (500 MW) | 11.71 | 0 | 0.06 | 11.77 | 4.8 | 27.3 | 42.65 | 0 | 0 | 37.06 | 0 | 0.07 | 59.22
Italy | Gas | Gas (CCGT) (790 MW) | 6.85 | 0 | 0.04 | 6.88 | 6.99 | 27.3 | 45.5 | 0 | 0 | 37.06 | 0 | 0.07 | 59.37
Belgium | Gas | Gas (CCGT) (500 MW) | 8.9 | 0 | 0.05 | 8.95 | 6 | 27.3 | 45.88 | 0 | 0 | 37.06 | 0 | 0.07 | 60.82
Canada | Gas | Gas (OCGT/int. comb.) (243 MW) | 16.44 | 0 | 0.09 | 16.53 | 18.53 | 10.92 | 27.3 | 0 | 0 | 37.06 | 0 | 0.07 | 62.35
Belgium | Gas | Gas (CCGT) (500 MW) | 11.29 | 0 | 0.06 | 11.36 | 6.67 | 27.3 | 47.06 | 0 | 0 | 37.06 | 0 | 0.07 | 65.09
Brazil | Gas | Gas (OCGT/int. comb.) (980 MW) | 23.45 | 0 | 0.13 | 23.59 | 16.71 | 10.92 | 24.82 | 0 | 0 | 37.06 | 0 | 0.07 | 65.12
United States of America | Gas | Gas (CCGT, CCUS) (646 MW) | 27.97 | 0 | 0.16 | 28.13 | 14.22 | 10.92 | 22.91 | 0 | 0 | 37.06 | 0 | 0.07 | 65.2562
Canada | Gas | Gas (OCGT/int. comb.) (100 MW) | 36.2 | 0 | 0.21 | 36.41 | 8.7 | 10.92 | 26.44 | 0 | 0 | 37.06 | 0 | 0.07 | 71.55
China | Gas | Gas (CCGT) (475 MW) | 6.49 | 0 | 0.04 | 6.53 | 13.49 | 31.05 | 53.53 | 0 | 0 | 37.06 | 0 | 0.07 | 73.56
Australia | Gas | Gas (CCGT) (506 MW) | 11.07 | 0 | 0.06 | 11.14 | 6.59 | 26.63 | 56.04 | 0 | 0 | 37.06 | 0 | 0.07 | 73.76
Korea, Republic of | Gas | Gas (CCGT) (982 MW) | 9.72 | 0 | 0.05 | 9.78 | 8.41 | 34.12 | 58.23 | 0 | 0 | 37.06 | 0 | 0.07 | 76.42
Japan | Gas | Gas (CCGT) (1372 MW) | 12.86 | 0 | 0.07 | 12.93 | 7.7 | 34.12 | 61.04 | 0 | 0 | 37.06 | 0 | 0.07 | 81.68
Korea, Republic of | Gas | Gas (CCGT) (491 MW) | 12.84 | 0 | 0.07 | 12.91 | 11.36 | 34.12 | 60.82 | 0 | 0 | 37.06 | 0 | 0.07 | 85.09
Belgium | Gas | Gas (OCGT/int. comb.) (350 MW) | 16.86 | 0 | 0.1 | 16.95 | 7.5 | 27.3 | 68.24 | 0 | 0 | 37.06 | 0 | 0.07 | 92.7
Italy | Gas | Gas (OCGT/int. comb.) (130 MW) | 10.3 | 0 | 0.06 | 10.36 | 11.11 | 27.3 | 73.98 | 0 | 0 | 37.06 | 0 | 0.07 | 95.45
Romania | Gas | Gas (CCGT) (750 MW) | 2.94 | 0.06 | 0.02 | 3.01 | 46.27 | 27.3 | 47.06 | 0 | 0 | 37.06 | 0 | 0.07 | 96.35
Belgium | Gas | Gas (OCGT/int. comb.) (500 MW) | 21.28 | 0 | 0.12 | 21.4 | 9.83 | 27.3 | 66.58 | 0 | 0 | 37.06 | 0 | 0.07 | 97.81
Belgium | Gas | Gas (OCGT/int. comb.) (500 MW) | 18.73 | 0 | 0.11 | 18.84 | 7.99 | 27.3 | 71.83 | 0 | 0 | 37.06 | 0 | 0.07 | 98.66
Australia | Gas | Gas (CCGT, CCUS) (437 MW) | 32.78 | 0 | 0.18 | 32.96 | 12.87 | 26.63 | 64.96 | 0 | 0 | 37.06 | 0 | 0.07 | 110.8
Australia | Gas | Gas (OCGT/int. comb.) (537 MW) | 21.2 | 0 | 0.12 | 21.32 | 9.09 | 26.63 | 86.91 | 0 | 0 | 37.06 | 0 | 0.07 | 117.32
|  | Mean | 14.4312 | 0.0023077 | 0.080769 | 14.515 | 10.57 | 21.8538 | 44.8838 | 0 | 0 | 37.06 | 0 | 0.07 | 69.9691
|  | Standard Diviation | 8.3671 | 0.011767 | 0.04791 | 8.412 | 8.1366 | 9.0924 | 21.1345 | 0 | 0 | 2.1738e-14 | 0 | 4.2458e-17 | 24.9905
Source(s): Projected Costs of Generating Electricity 2020, IEA
https://www.iea.org/data-and-statistics/data-tools/levelised-cost-of-electricity-calculator
Note(s): Assume 7% discounted rate and $0 carbon tax

## LCOE Hydro - IEA
Country | Plant category | Plant type | Construction costs (USD/MWh) | Refurbishment costs (USD/MWh) | Decommissioning costs (USD/MWh) | Total capital costs (USD/MWh) | Operations & maintenance costs (USD/MWh) | Fuel costs (th) (USD/MWh) | Fuel costs (el) (USD/MWh) | Carbon price (USD/ton) | Carbon costs (USD/MWh) | Heat price (USD/MWh) | CHP heat revenues (USD/MWh) | Discount rate | LCOE (USD/MWh)
Norway | Hydro | Hydro reservoir (>= 5 MW) (30.0 MW) | 33.72 | 0 | 0.01 | 33.73 | 4.92 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 38.65
Brazil | Hydro | Run of river (>= 5 MW) (248 MW) | 42.95 | 0 | 0.01 | 42.96 | 3.16 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 46.12
Norway | Hydro | Run of river (< 5 MW) (3.0 MW) | 38.58 | 0 | 0.01 | 38.59 | 8.61 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 47.19
India | Hydro | Hydro reservoir (>= 5 MW) (175 MW) | 37.68 | 0 | 0.01 | 37.69 | 11.65 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 49.34
Austria | Hydro | Run of river (< 5 MW) (2.2 MW) | 42.4 | 0 | 0.01 | 42.41 | 11.92 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 54.33
Germany | Hydro | Run of river (>= 5 MW) (24.5 MW) | 42.61 | 5.88 | 0.01 | 48.5 | 8.5 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 57
Italy | Hydro | Run of river (< 5 MW) (0.50 MW) | 48.39 | 0 | 0.01 | 48.4 | 13.01 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 61.41
Italy | Hydro | Run of river (< 5 MW) (2.1 MW) | 58.94 | 0 | 0.01 | 58.95 | 8.42 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 67.38
Italy | Hydro | Run of river (< 5 MW) (1.0 MW) | 60.78 | 0 | 0.01 | 60.79 | 8.71 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 69.49
United States of America | Hydro | Run of river (>= 5 MW) (median case) (44.7 MW) | 62.24 | 0 | 0.01 | 62.25 | 8.33 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 70.58
Italy | Hydro | Hydro reservoir (< 5 MW) (0.32 MW) | 55.93 | 0 | 0.01 | 55.94 | 16.85 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 72.79
Italy | Hydro | Run of river (< 5 MW) (0.69 MW) | 73.43 | 0 | 0.01 | 73.44 | 12.47 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 85.91
United States of America | Hydro | Run of river (>= 5 MW) (median case) (94.0 MW) | 81.84 | 0 | 0.01 | 81.85 | 5.35 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 87.2
United States of America | Hydro | Run of river (>= 5 MW) (82.2 MW) | 84.26 | 0 | 0.01 | 84.28 | 5.93 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 90.21
United States of America | Hydro | Run of river (< 5 MW) (4.2 MW) | 66.09 | 0 | 0.01 | 66.1 | 24.42 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 90.52
Italy | Hydro | Hydro reservoir (>= 5 MW) (15.0 MW) | 75.78 | 0 | 0.01 | 75.8 | 18.37 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 94.16
Italy | Hydro | Run of river (< 5 MW) (0.25 MW) | 75.49 | 0 | 0.01 | 75.5 | 22.09 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 97.59
Italy | Hydro | Run of river (< 5 MW) (0.10 MW) | 81.34 | 0 | 0.01 | 81.35 | 17.01 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 98.36
United States of America | Hydro | Run of river (>= 5 MW) (44.1 MW) | 93.18 | 0 | 0.02 | 93.2 | 7.57 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 100.77
Italy | Hydro | Run of river (>= 5 MW) (5.0 MW) | 76.28 | 0 | 0.01 | 76.29 | 27.53 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 103.82
Italy | Hydro | Run of river (< 5 MW) (0.50 MW) | 100.67 | 0 | 0.02 | 100.69 | 12.07 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 112.76
Italy | Hydro | Run of river (< 5 MW) (0.19 MW) | 91.61 | 0 | 0.02 | 91.63 | 21.47 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 113.09
United States of America | Hydro | Run of river (< 5 MW) (4.8 MW) | 95.47 | 0 | 0.02 | 95.49 | 22.24 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 117.72
United States of America | Hydro | Run of river (< 5 MW) (3.7 MW) | 105.26 | 0 | 0.02 | 105.28 | 23.4 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 128.67
Italy | Hydro | Run of river (< 5 MW) (0.015 MW) | 108.42 | 0 | 0.02 | 108.43 | 24.64 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 133.08
Japan | Hydro | Hydro reservoir (>= 5 MW) (12.0 MW) | 119.38 | 0 | 0.02 | 119.4 | 23 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 142.4
Italy | Hydro | Run of river (< 5 MW) (0.50 MW) | 230.41 | 0 | 0.04 | 230.45 | 17.52 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 247.97
Italy | Hydro | Run of river (< 5 MW) (0.25 MW) | 228.52 | 0 | 0.04 | 228.56 | 29.18 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 257.75
Italy | Hydro | Run of river (< 5 MW) (0.25 MW) | 358.18 | 0 | 0.06 | 358.24 | 51.07 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 409.32
|  | Mean | 92.0631 | 0.20276 | 0.016207 | 92.2824 | 16.1866 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 108.4683
|  | Standard Diviation | 69.3513 | 1.0919 | 0.011776 | 69.2212 | 10.0476 | 0 | 0 | 0 | 0 | 2.8925e-14 | 0 | 2.8247e-17 | 77.0886
Source(s): Projected Costs of Generating Electricity 2020, IEA
https://www.iea.org/data-and-statistics/data-tools/levelised-cost-of-electricity-calculator
Note(s): Assume 7% discounted rate and $0 carbon tax

## LCOE Bio - IEA
Country | Plant category | Plant type | Construction costs (USD/MWh) | Refurbishment costs (USD/MWh) | Decommissioning costs (USD/MWh) | Total capital costs (USD/MWh) | Operations & maintenance costs (USD/MWh) | Fuel costs (th) (USD/MWh) | Fuel costs (el) (USD/MWh) | Carbon price (USD/ton) | Carbon costs (USD/MWh) | Heat price (USD/MWh) | CHP heat revenues (USD/MWh) | Discount rate | LCOE (USD/MWh)
Brazil | Bio | Biomass (25.0 MW) | 34.68 | 0 | 0.09 | 34.78 | 18.75 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 53.52
Italy | Bio | Biomass (0.45 MW) | 48.93 | 0 | 0.13 | 49.07 | 26.89 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 75.96
India | Bio | Biomass (30.0 MW) | 9.32 | 0 | 0.03 | 9.34 | 2.24 | 47.81 | 106.24 | 0 | 0 | 37.06 | 0 | 0.07 | 117.82
Italy | Bio | Biomass (0.42 MW) | 70.23 | 0 | 0.19 | 70.42 | 59 | 15.62 | 159.42 | 0 | 0 | 37.06 | 0 | 0.07 | 288.84
|  | Mean | 40.79 | 0 | 0.11 | 40.9025 | 26.72 | 15.8575 | 66.415 | 0 | 0 | 37.06 | 0 | 0.07 | 134.035
|  | Standard Diviation | 25.5647 | 0 | 0.06733 | 25.6363 | 23.8385 | 22.5384 | 79.7033 | 0 | 0 | 0 | 0 | 0 | 106.5878
Source(s): Projected Costs of Generating Electricity 2020, IEA
https://www.iea.org/data-and-statistics/data-tools/levelised-cost-of-electricity-calculator
Note(s): Assume 7% discounted rate and $0 carbon tax

## LCOE Nuclear - IEA
Country | Plant category | Plant type | Construction costs (USD/MWh) | Refurbishment costs (USD/MWh) | Decommissioning costs (USD/MWh) | Total capital costs (USD/MWh) | Operations & maintenance costs (USD/MWh) | Fuel costs (th) (USD/MWh) | Fuel costs (el) (USD/MWh) | Carbon price (USD/ton) | Carbon costs (USD/MWh) | Heat price (USD/MWh) | CHP heat revenues (USD/MWh) | Discount rate | LCOE (USD/MWh)
Sweden | Nuclear | LTO (20 years) (1000 MW) | 5.83 | 0 | 0.11 | 5.93 | 12.92 | 0 | 9.33 | 0 | 0 | 37.06 | 0 | 0.07 | 28.18
Switzerland | Nuclear | LTO (20 years) (1000 MW) | 7.22 | 0 | 0.14 | 7.35 | 12.92 | 0 | 9.33 | 0 | 0 | 37.06 | 0 | 0.07 | 29.6
France | Nuclear | LTO (20 years) (1000 MW) | 8.25 | 0 | 0.15 | 8.41 | 12.92 | 0 | 9.33 | 0 | 0 | 37.06 | 0 | 0.07 | 30.65
Sweden | Nuclear | LTO (10 years) (1000 MW) | 8.79 | 0 | 0.32 | 9.11 | 12.92 | 0 | 9.33 | 0 | 0 | 37.06 | 0 | 0.07 | 31.36
United States of America | Nuclear | LTO (20 years) (1000 MW) | 5.13 | 0 | 0.1 | 5.23 | 18.69 | 0 | 9.33 | 0 | 0 | 37.06 | 0 | 0.07 | 33.25
Switzerland | Nuclear | LTO (10 years) (1000 MW) | 10.88 | 0 | 0.4 | 11.29 | 12.92 | 0 | 9.33 | 0 | 0 | 37.06 | 0 | 0.07 | 33.53
France | Nuclear | LTO (10 years) (1000 MW) | 12.45 | 0 | 0.46 | 12.91 | 12.92 | 0 | 9.33 | 0 | 0 | 37.06 | 0 | 0.07 | 35.15
United States of America | Nuclear | LTO (10 years) (1000 MW) | 7.74 | 0 | 0.29 | 8.02 | 18.69 | 0 | 9.33 | 0 | 0 | 37.06 | 0 | 0.07 | 36.04
Russian Federation | Nuclear | Gen III projects (1122 MW) | 26.86 | 0 | 0.03 | 26.88 | 10.15 | 0 | 4.99 | 0 | 0 | 37.06 | 0 | 0.07 | 42.02
India | Nuclear | LWR (950 MW) | 32.85 | 0 | 0.03 | 32.89 | 5.43 | 0 | 9.33 | 0 | 0 | 37.06 | 0 | 0.07 | 47.64
Korea, Republic of | Nuclear | ALWR (1377 MW) | 25.51 | 0 | 0.03 | 25.54 | 18.44 | 0 | 9.33 | 0 | 0 | 37.06 | 0 | 0.07 | 53.3
China | Nuclear | Nuclear (950 MW) | 29.57 | 0 | 0.03 | 29.6 | 26.42 | 0 | 10 | 0 | 0 | 37.06 | 0 | 0.07 | 66.01
France | Nuclear | Gen III projects (1650 MW) | 47.46 | 0 | 0.05 | 47.51 | 14.26 | 0 | 9.33 | 0 | 0 | 37.06 | 0 | 0.07 | 71.1
United States of America | Nuclear | LWR (1100 MW) | 50.26 | 0 | 0.05 | 50.32 | 11.6 | 0 | 9.33 | 0 | 0 | 37.06 | 0 | 0.07 | 71.25
Japan | Nuclear | ALWR (1152 MW) | 46.87 | 0 | 0.05 | 46.92 | 25.84 | 0 | 13.92 | 0 | 0 | 37.06 | 0 | 0.07 | 86.67
Slovakia | Nuclear | Nuclear (1004 MW) | 81.84 | 0.87 | 0.09 | 82.8 | 9.71 | 0 | 9.33 | 0 | 0 | 37.06 | 0 | 0.07 | 101.84
|  | Mean | 25.4694 | 0.054375 | 0.14562 | 25.6694 | 14.7969 | 0 | 9.3875 | 0 | 0 | 37.06 | 0 | 0.07 | 49.8494
|  | Standard Diviation | 21.9254 | 0.2175 | 0.14194 | 22.0082 | 5.5826 | 0 | 1.6391 | 0 | 0 | 0 | 0 | 2.8666e-17 | 22.8711
Source(s): Projected Costs of Generating Electricity 2020, IEA
https://www.iea.org/data-and-statistics/data-tools/levelised-cost-of-electricity-calculator
Note(s): Assume 7% discounted rate and $0 carbon tax

## LCOE Solar - IEA
Country | Plant category | Plant type | Construction costs (USD/MWh) | Refurbishment costs (USD/MWh) | Decommissioning costs (USD/MWh) | Total capital costs (USD/MWh) | Operations & maintenance costs (USD/MWh) | Fuel costs (th) (USD/MWh) | Fuel costs (el) (USD/MWh) | Carbon price (USD/ton) | Carbon costs (USD/MWh) | Heat price (USD/MWh) | CHP heat revenues (USD/MWh) | Discount rate | LCOE (USD/MWh)
France | Solar | Solar PV (utility scale) (25.0 MW) | 30.17 | 0 | 0.25 | 30.42 | 3.52 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 33.94
United States of America | Solar | Solar PV (utility scale) (100 MW) | 30.13 | 0 | 0.25 | 30.39 | 4.2 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 34.59
India | Solar | Solar PV (utility scale) (35.0 MW) | 31.65 | 0 | 0.26 | 31.91 | 3.69 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 35.6
United States of America | Solar | Solar PV (utility scale) (100 MW) | 33.16 | 0 | 0.28 | 33.44 | 4.62 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 38.06
Australia | Solar | Solar PV (utility scale) (100 MW) | 33.58 | 0 | 0.28 | 33.86 | 4.79 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 38.65
Denmark | Solar | Solar PV (utility scale) (8.0 MW) | 33.86 | 0 | 0.28 | 34.14 | 6.97 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 41.11
Denmark | Solar | Solar PV (utility scale) (8.0 MW) | 35.57 | 0 | 0.3 | 35.87 | 7.69 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 43.56
United States of America | Solar | Solar PV (utility scale) (median case) (100 MW) | 38.55 | 0 | 0.32 | 38.87 | 5.38 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 44.25
Brazil | Solar | Solar PV (utility scale) (25.0 MW) | 39.17 | 0 | 0.33 | 39.5 | 6.52 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 46.02
United States of America | Solar | Solar PV (utility scale) (100 MW) | 41.55 | 0 | 0.35 | 41.9 | 5.79 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 47.69
China | Solar | Solar PV (utility scale) (20.0 MW) | 42.4 | 0 | 0.35 | 42.76 | 8.02 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 50.78
United States of America | Solar | Solar PV (utility scale) (100 MW) | 47.88 | 0 | 0.4 | 48.28 | 6.68 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 54.96
Italy | Solar | Solar PV (utility scale) (0.83 MW) | 43.1 | 0 | 0.36 | 43.46 | 14.62 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 58.09
Canada | Solar | Solar PV (utility scale) (20.0 MW) | 55.39 | 0 | 0.46 | 55.85 | 6.62 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 62.47
Italy | Solar | Solar PV (utility scale) (0.83 MW) | 32.23 | 2.87 | 0.27 | 35.36 | 27.59 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 62.96
Italy | Solar | Solar PV (commercial) (0.21 MW) | 54.01 | 0 | 0.45 | 54.46 | 16.52 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 70.98
France | Solar | Solar PV (commercial) (0.50 MW) | 49.26 | 0 | 0.41 | 49.67 | 24.31 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 73.98
United States of America | Solar | Solar PV (commercial) (0.30 MW) | 68.07 | 0 | 0.57 | 68.64 | 5.83 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 74.46
Denmark | Solar | Solar PV (commercial) (0.10 MW) | 66.11 | 0 | 0.55 | 66.66 | 11.1 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 77.76
Netherlands | Solar | Solar PV (utility scale) (8.0 MW) | 58.44 | 0.89 | 0.49 | 59.81 | 20.16 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 79.97
United States of America | Solar | Solar PV (commercial) (0.30 MW) | 73.67 | 0 | 0.61 | 74.28 | 6.31 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 80.59
Hungary | Solar | Solar PV (utility scale) (20.0 MW) | 72.98 | 1.4 | 0.61 | 74.98 | 11.06 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 86.05
Netherlands | Solar | Solar PV (floating) (8.0 MW) | 62.26 | 0.89 | 0.52 | 63.66 | 22.73 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 86.39
Canada | Solar | Solar PV (utility scale) (20.0 MW) | 68.02 | 0 | 0.57 | 68.59 | 19.36 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 87.94
Netherlands | Solar | Solar PV (commercial) (0.20 MW) | 62.89 | 0.91 | 0.52 | 64.33 | 25.17 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 89.5
Belgium | Solar | Solar PV (utility scale) (1.0 MW) | 76.79 | 0 | 0.64 | 77.43 | 12.78 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 90.22
Italy | Solar | Solar PV (commercial) (0.42 MW) | 63.23 | 11.7 | 0.53 | 75.46 | 18.28 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 93.74
United States of America | Solar | Solar PV (commercial) (median case) (0.30 MW) | 86.09 | 0 | 0.72 | 86.81 | 7.37 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 94.18
Korea, Republic of | Solar | Solar PV (utility scale) (3.0 MW) | 83.55 | 0 | 0.7 | 84.24 | 12.32 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 96.57
Korea, Republic of | Solar | Solar PV (commercial) (0.099 MW) | 84.52 | 0 | 0.7 | 85.23 | 12.91 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 98.13
United States of America | Solar | Solar PV (commercial) (0.30 MW) | 91.83 | 0 | 0.76 | 92.59 | 7.86 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 100.45
Italy | Solar | Solar PV (commercial) (0.083 MW) | 68.22 | 11.7 | 0.57 | 80.49 | 21.09 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 101.58
Belgium | Solar | Solar PV (residential) (0.010 MW) | 80.68 | 0 | 0.67 | 81.35 | 21.13 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 102.48
Hungary | Solar | Solar PV (commercial) (0.50 MW) | 81.39 | 1.87 | 0.68 | 83.94 | 20.34 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 104.28
Hungary | Solar | Solar PV (commercial) (0.050 MW) | 98.2 | 4.47 | 0.82 | 103.49 | 2.1 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 105.59
Austria | Solar | Solar PV (residential) (0.020 MW) | 64.47 | 0 | 0.54 | 65 | 43.18 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 108.18
Denmark | Solar | Solar PV (residential) (0.006 MW) | 99.39 | 0 | 0.83 | 100.22 | 14.1 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 114.32
United States of America | Solar | Solar PV (commercial) (0.30 MW) | 106.45 | 0 | 0.89 | 107.33 | 9.11 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 116.44
France | Solar | Solar PV (residential) (0.010 MW) | 98.51 | 0 | 0.82 | 99.33 | 24.31 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 123.65
Belgium | Solar | Solar PV (residential) (0.010 MW) | 111.3 | 0 | 0.93 | 112.23 | 13.65 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 125.88
United States of America | Solar | Solar PV (residential) (median case) (0.005 MW) | 115.48 | 0 | 0.96 | 116.44 | 10.09 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 126.54
United States of America | Solar | Solar PV (residential) (0.005 MW) | 123.59 | 0 | 1.03 | 124.62 | 10.8 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 135.42
Italy | Solar | Solar PV (residential) (0.005 MW) | 81.52 | 0 | 0.68 | 82.2 | 57.53 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 139.73
United States of America | Solar | Solar PV (residential) (0.005 MW) | 127.93 | 0 | 1.07 | 128.99 | 11.18 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 140.17
Norway | Solar | Solar PV (commercial) (0.30 MW) | 97.89 | 0 | 0.82 | 98.7 | 41.75 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 140.45
Hungary | Solar | Solar PV (residential) (0.004 MW) | 129.55 | 7.54 | 1.08 | 138.16 | 3.53 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 141.69
United States of America | Solar | Solar PV (residential) (0.005 MW) | 139.74 | 0 | 1.16 | 140.91 | 12.21 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 153.12
United States of America | Solar | Solar PV (residential) (0.005 MW) | 142.69 | 0 | 1.19 | 143.88 | 12.47 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 156.35
Belgium | Solar | Solar PV (residential) (0.010 MW) | 142.62 | 0 | 1.19 | 143.81 | 15.34 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 159.15
Japan | Solar | Solar PV (utility scale) (2.0 MW) | 146.5 | 0 | 1.22 | 147.72 | 24.34 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 172.05
Japan | Solar | Solar PV (residential) (0.004 MW) | 198.74 | 0 | 1.66 | 200.4 | 22.91 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 223.3
Italy | Solar | Solar PV (residential) (0.004 MW) | 96.45 | 12.5 | 0.8 | 109.75 | 164.82 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 274.57
|  | Mean | 77.7196 | 1.0912 | 0.64808 | 79.4579 | 17.4375 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 96.8958
|  | Standard Diviation | 37.6692 | 3.0067 | 0.31409 | 38.2368 | 23.4847 | 0 | 0 | 0 | 0 | 4.3049e-14 | 0 | 5.6053e-17 | 48.3598
Source(s): Projected Costs of Generating Electricity 2020, IEA
https://www.iea.org/data-and-statistics/data-tools/levelised-cost-of-electricity-calculator
Note(s): Assume 7% discounted rate and $0 carbon tax

## LCOE Wind - IEA
Country | Plant category | Plant type | Construction costs (USD/MWh) | Refurbishment costs (USD/MWh) | Decommissioning costs (USD/MWh) | Total capital costs (USD/MWh) | Operations & maintenance costs (USD/MWh) | Fuel costs (th) (USD/MWh) | Fuel costs (el) (USD/MWh) | Carbon price (USD/ton) | Carbon costs (USD/MWh) | Heat price (USD/MWh) | CHP heat revenues (USD/MWh) | Discount rate | LCOE (USD/MWh)
Italy | Wind | Wind onshore (< 1 MW) (0.020 MW) | 168.82 | 0 | 1.41 | 170.23 | 41.87 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 212.1
Italy | Wind | Wind onshore (< 1 MW) (0.059 MW) | 198.09 | 0 | 1.65 | 199.74 | 41.46 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 241.2
Italy | Wind | Wind onshore (< 1 MW) (0.060 MW) | 135.26 | 0 | 1.13 | 136.39 | 39.28 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 175.67
Italy | Wind | Wind onshore (< 1 MW) (0.10 MW) | 105.73 | 0 | 0.88 | 106.61 | 29.29 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 135.9
Italy | Wind | Wind onshore (< 1 MW) (0.19 MW) | 156.17 | 0 | 1.3 | 157.47 | 27.55 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 185.02
Italy | Wind | Wind onshore (< 1 MW) (0.50 MW) | 77.91 | 0 | 0.65 | 78.55 | 20.38 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 98.94
Italy | Wind | Wind onshore (< 1 MW) (0.80 MW) | 55.13 | 0 | 0.46 | 55.59 | 19.69 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 75.28
Italy | Wind | Wind onshore (< 1 MW) (0.83 MW) | 75.24 | 0 | 0.63 | 75.87 | 12.91 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 88.78
Italy | Wind | Wind onshore (< 1 MW) (0.90 MW) | 55.54 | 0 | 0.46 | 56 | 15.37 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 71.37
Italy | Wind | Wind onshore (< 1 MW) (0.90 MW) | 62.88 | 0 | 0.52 | 63.4 | 15.61 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 79.01
Italy | Wind | Wind onshore (>= 1 MW) (1.0 MW) | 76.24 | 0 | 0.63 | 76.88 | 14.56 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 91.44
Italy | Wind | Wind onshore (>= 1 MW) (10.0 MW) | 37.65 | 0 | 0.31 | 37.96 | 14.91 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 52.87
United States of America | Wind | Wind onshore (>= 1 MW) (100 MW) | 26.26 | 0 | 0.22 | 26.48 | 8.71 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 35.19
United States of America | Wind | Wind onshore (>= 1 MW) (100 MW) | 27 | 0 | 0.22 | 27.23 | 9.57 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 36.8
United States of America | Wind | Wind onshore (>= 1 MW) (100 MW) | 27.66 | 0 | 0.23 | 27.89 | 9.92 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 37.81
United States of America | Wind | Wind onshore (>= 1 MW) (100 MW) | 30.23 | 0 | 0.25 | 30.48 | 10.69 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 41.17
Australia | Wind | Wind onshore (>= 1 MW) (100 MW) | 33.41 | 0 | 0.28 | 33.69 | 9.31 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 43
United States of America | Wind | Wind onshore (>= 1 MW) (100 MW) | 36.46 | 0 | 0.3 | 36.76 | 11.36 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 48.13
United States of America | Wind | Wind onshore (>= 1 MW) (100 MW) | 42.62 | 0 | 0.35 | 42.98 | 12.53 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 55.5
United States of America | Wind | Wind onshore (>= 1 MW) (100 MW) | 58.66 | 0 | 0.49 | 59.15 | 14.15 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 73.29
United States of America | Wind | Wind onshore (>= 1 MW) (100 MW) | 75.76 | 0 | 0.63 | 76.39 | 16.49 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 92.88
United States of America | Wind | Wind onshore (>= 1 MW) (100 MW) | 127.99 | 0 | 1.07 | 129.06 | 26.07 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 155.13
Norway | Wind | Wind onshore (>= 1 MW) (130 MW) | 20.75 | 0 | 0.17 | 20.92 | 9.84 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 30.76
Korea, Republic of | Wind | Wind onshore (>= 1 MW) (14.9 MW) | 84.4 | 0 | 0.7 | 85.1 | 28.22 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 113.33
Italy | Wind | Wind onshore (>= 1 MW) (20.0 MW) | 49.17 | 0 | 0.41 | 49.58 | 9.94 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 59.52
Japan | Wind | Wind onshore (>= 1 MW) (20.0 MW) | 111.76 | 0 | 0.93 | 112.69 | 27.48 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 140.17
Canada | Wind | Wind onshore (>= 1 MW) (200 MW) | 33.34 | 0 | 0.28 | 33.62 | 13.21 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 46.83
Russian Federation | Wind | Wind onshore (>= 1 MW) (280 MW) | 53.4 | 0 | 0.44 | 53.85 | 13.5 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 67.35
Austria | Wind | Wind onshore (>= 1 MW) (3.0 MW) | 52.31 | 0 | 0.44 | 52.74 | 23.61 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 76.35
Brazil | Wind | Wind onshore (>= 1 MW) (30.0 MW) | 27.38 | 0 | 0.23 | 27.61 | 5.98 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 33.59
Finland | Wind | Wind onshore (>= 1 MW) (30.0 MW) | 37.62 | 0 | 0.31 | 37.94 | 6.94 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 44.88
Belgium | Wind | Wind onshore (>= 1 MW) (30.0 MW) | 47.22 | 0 | 0.39 | 47.61 | 10.29 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 57.9
Belgium | Wind | Wind onshore (>= 1 MW) (30.0 MW) | 50.46 | 0 | 0.42 | 50.88 | 13.23 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 64.11
Denmark | Wind | Wind onshore (>= 1 MW) (4.5 MW) | 22.69 | 0 | 0.19 | 22.88 | 6.3 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 29.18
Belgium | Wind | Wind onshore (>= 1 MW) (4.5 MW) | 60.13 | 0 | 0.5 | 60.63 | 17.71 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 78.33
Belgium | Wind | Wind onshore (>= 1 MW) (5.0 MW) | 48.18 | 0 | 0.4 | 48.58 | 19.96 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 68.54
Netherlands | Wind | Wind onshore (>= 1 MW) (50.0 MW) | 25.42 | 0.3 | 0.21 | 25.93 | 15.23 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 41.17
France | Wind | Wind onshore (>= 1 MW) (50.0 MW) | 38.04 | 0 | 0.32 | 38.35 | 17.73 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 56.08
China | Wind | Wind onshore (>= 1 MW) (50.0 MW) | 44.87 | 0 | 0.37 | 45.25 | 13.18 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 58.43
Russian Federation | Wind | Wind onshore (>= 1 MW) (60.0 MW) | 57.99 | 0 | 0.48 | 58.47 | 13.82 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 72.29
India | Wind | Wind onshore (>= 1 MW) (65.0 MW) | 31.92 | 0 | 0.27 | 32.19 | 3.72 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 35.91
United States of America | Wind | Wind onshore (>= 1 MW) (median case) (100 MW) | 28.52 | 0 | 0.24 | 28.76 | 10.26 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 39.02
Australia | Wind | Wind offshore (100 MW) | 66.74 | 0 | 0.56 | 67.29 | 18.07 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 85.36
Japan | Wind | Wind offshore (100 MW) | 131.89 | 0 | 1.1 | 132.98 | 67.2 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 200.18
Denmark | Wind | Wind offshore (11.3 MW) | 38.05 | 0 | 0.32 | 38.36 | 13.58 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 51.94
Denmark | Wind | Wind offshore (11.5 MW) | 32.49 | 0 | 0.27 | 32.76 | 12.33 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 45.09
Belgium | Wind | Wind offshore (12.0 MW) | 59.3 | 0 | 0.49 | 59.79 | 35.41 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 95.2
China | Wind | Wind offshore (50.0 MW) | 62.66 | 0 | 0.52 | 63.18 | 18.68 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 81.86
Belgium | Wind | Wind offshore (50.0 MW) | 59.3 | 0 | 0.49 | 59.79 | 27.64 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 87.43
France | Wind | Wind offshore (500 MW) | 66.81 | 0 | 0.56 | 67.36 | 22.46 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 89.82
United States of America | Wind | Wind offshore (600 MW) | 44.89 | 0 | 0.37 | 45.26 | 14.11 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 59.37
United States of America | Wind | Wind offshore (600 MW) | 46.19 | 0 | 0.38 | 46.57 | 14.62 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 61.19
United States of America | Wind | Wind offshore (600 MW) | 40.57 | 0 | 0.34 | 40.91 | 20.44 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 61.35
United States of America | Wind | Wind offshore (600 MW) | 41.76 | 0 | 0.35 | 42.11 | 21.43 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 63.53
United States of America | Wind | Wind offshore (600 MW) | 48.31 | 0 | 0.4 | 48.72 | 15.49 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 64.21
United States of America | Wind | Wind offshore (600 MW) | 45.74 | 0 | 0.38 | 46.12 | 21.95 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 68.07
United States of America | Wind | Wind offshore (600 MW) | 50.77 | 0 | 0.42 | 51.19 | 16.99 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 68.18
United States of America | Wind | Wind offshore (600 MW) | 47.31 | 0 | 0.39 | 47.7 | 22.92 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 70.63
United States of America | Wind | Wind offshore (600 MW) | 54.46 | 0 | 0.45 | 54.91 | 19.18 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 74.09
United States of America | Wind | Wind offshore (600 MW) | 55.62 | 0 | 0.46 | 56.08 | 26.32 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 82.4
United States of America | Wind | Wind offshore (600 MW) | 68.36 | 0 | 0.57 | 68.93 | 24.66 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 93.59
United States of America | Wind | Wind offshore (600 MW) | 78.57 | 0 | 0.65 | 79.22 | 32.56 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 111.78
United States of America | Wind | Wind offshore (600 MW) | 91.37 | 0 | 0.76 | 92.13 | 27.08 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 119.21
Korea, Republic of | Wind | Wind offshore (99.0 MW) | 114.93 | 0 | 0.96 | 115.89 | 45.1 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 160.99
United States of America | Wind | Wind offshore (median case) (600 MW) | 43.61 | 0 | 0.36 | 43.97 | 21.65 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 65.62
|  | Mean | 61.6305 | 0.0046154 | 0.51262 | 62.1477 | 19.4108 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 81.5586
|  | Standard Diviation | 36.5397 | 0.03721 | 0.305 | 36.8394 | 10.8818 | 0 | 0 | 0 | 0 | 4.2964e-14 | 0 | 2.7972e-17 | 45.8138
Source(s): Projected Costs of Generating Electricity 2020, IEA
https://www.iea.org/data-and-statistics/data-tools/levelised-cost-of-electricity-calculator
Note(s): Assume 7% discounted rate and $0 carbon tax

## LCOE Geothermal - IEA
Country | Plant category | Plant type | Construction costs (USD/MWh) | Refurbishment costs (USD/MWh) | Decommissioning costs (USD/MWh) | Total capital costs (USD/MWh) | Operations & maintenance costs (USD/MWh) | Fuel costs (th) (USD/MWh) | Fuel costs (el) (USD/MWh) | Carbon price (USD/ton) | Carbon costs (USD/MWh) | Heat price (USD/MWh) | CHP heat revenues (USD/MWh) | Discount rate | LCOE (USD/MWh)
United States of America | Geothermal | Geothermal (30.0 MW) | 45.08 | 0 | 0.12 | 45.2 | 16.63 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 61.83
Italy | Geothermal | Geothermal (39.6 MW) | 50.04 | 0 | 0.13 | 50.17 | 17.96 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 68.13
United States of America | Geothermal | Geothermal (25.0 MW) | 68.17 | 0 | 0.18 | 68.35 | 25.19 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 93.54
Italy | Geothermal | Geothermal (15.0 MW) | 82.06 | 0 | 0.22 | 82.27 | 21.25 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 103.52
Italy | Geothermal | Geothermal (10.0 MW) | 112.74 | 0 | 0.3 | 113.04 | 23.02 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 136.06
Italy | Geothermal | Geothermal (5.0 MW) | 126.09 | 0 | 0.33 | 126.42 | 25.38 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 151.8
|  | Mean | 80.6967 | 0 | 0.21333 | 80.9083 | 21.5717 | 0 | 0 | 0 | 0 | 37.06 | 0 | 0.07 | 102.48
|  | Standard Diviation | 33.0287 | 0 | 0.087101 | 33.1157 | 3.6677 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.9817
Source(s): Projected Costs of Generating Electricity 2020, IEA
https://www.iea.org/data-and-statistics/data-tools/levelised-cost-of-electricity-calculator
Note(s): Assume 7% discounted rate and $0 carbon tax